[image: image1.png]AAAAA





YUCEL Y9-12 SPECIFICATION SHEET

Specifications
1) Nominal Voltage




12V

2) Nominal Capacity                                                         9.0Ah
10 hour rate 10.80V



            8.5Ah

 8 hour rate 10.50V



            7.91Ah

 5 Hour rate 10.50V



            7.23 Ah

3) Weight (approx.)



            2.75Kg
4) Internal Resistance (approx.)                                       18m(
5) Maximum discharge                                                     45A

4) Operating Temperature Range       

    Charge:





-15°C to40°C

    Discharge:





-20°C to 50°C

5) Charge Retention at 20°C

      1 month




97%

      3 months




91%

      6 months




85%

6) Life Expectancy (standby use) 3 to 5 years @ 20°C

7) Sealed Construction




can be operated/charged without leakage

8) Standard Terminal




Faston Tab 187

9) Housing Material




ABS resin (UL94HB)
Dimensions  

            Length





151.0 mm      ±1 mm

           Width





65.0 mm        ±1 mm

           Height





94.0 mm       ±1 mm

           Height (inc term)



             100.0 mm      ±1 mm

Cat # 1999 Issue 1 for YBSUK 

[image: image1.png]